## Sheet1 (hidden)
|  |  |  | Months | January |  |  |  |  | February |  |  |  |  | March |  |  |  |  | April |  |  |  |  | May |  |  |  |  | June |  |  |  |  | July |  |  |  |  | August |  |  |  |  | September |  |  |  |  | Octumber |  |  |  |  | November |  |  |  |  | December
|  |  |  | Monday |  | 7 | 14 | 21 | 28 |  | 4 | 11 | 18 | 25 |  | 4 | 11 | 18 | 25 | 1 | 8 | 15 | 22 | 29 |  | 6 | 13 | 20 | 27 |  | 3 | 10 | 17 | 24 | 1 | 8 | 15 | 22 | 29 |  | 5 | 12 | 19 | 26 | 2 | 9 | 16 | 23 | 30 |  | 7 | 14 | 21 | 28 |  | 4 | 11 | 18 | 25 | 2 | 9 | 16 | 21 | 28
|  |  |  | Tuesday | 1 | 8 | 15 | 22 | 29 |  | 5 | 12 | 19 | 26 |  | 5 | 12 | 19 | 26 | 2 | 9 | 16 | 23 | 30 |  | 7 | 14 | 21 | 28 |  | 4 | 11 | 18 | 25 | 2 | 9 | 16 | 23 | 30 |  | 6 | 13 | 20 | 27 | 3 | 10 | 17 | 24 |  | 1 | 8 | 15 | 22 | 29 |  | 5 | 12 | 19 | 26 | 3 | 10 | 15 | 22 | 29
|  |  |  | Wednesday | 2 | 9 | 16 | 23 | 30 |  | 6 | 13 | 20 | 27 |  | 6 | 13 | 20 | 27 | 3 | 10 | 17 | 24 |  | 1 | 8 | 15 | 22 | 29 |  | 5 | 12 | 19 | 26 | 3 | 10 | 17 | 24 | 31 |  | 7 | 14 | 21 | 28 | 4 | 11 | 18 | 25 |  | 2 | 9 | 16 | 23 | 30 |  | 6 | 13 | 20 | 27 | 4 | 11 | 16 | 23 | 30
|  |  |  | Thursday | 3 | 10 | 17 | 24 | 31 |  | 7 | 14 | 21 | 28 |  | 7 | 14 | 21 | 28 | 4 | 11 | 18 | 25 |  | 2 | 9 | 16 | 23 | 30 |  | 6 | 13 | 20 | 27 | 4 | 11 | 18 | 25 |  | 1 | 8 | 15 | 22 | 29 | 5 | 12 | 19 | 26 |  | 3 | 10 | 17 | 24 | 31 |  | 7 | 14 | 21 | 28 | 5 | 12 | 17 | 24 | 31
|  |  |  | Friday | 4 | 11 | 18 | 25 |  | 1 | 8 | 15 | 22 |  | 1 | 8 | 15 | 22 | 29 | 5 | 12 | 19 | 26 |  | 3 | 10 | 17 | 24 | 31 |  | 7 | 14 | 21 | 28 | 5 | 12 | 19 | 26 |  | 2 | 9 | 16 | 23 | 30 | 6 | 13 | 20 | 27 |  | 4 | 11 | 18 | 25 |  | 1 | 8 | 15 | 22 | 29 | 6 | 13 | 18 | 25
PPM PLANNER - 2019 PRINCESS PARK SEC-86 FARIDABAD |  |  |  | Saturday | 5 | 12 | 19 | 26 |  | 2 | 9 | 16 | 23 |  | 2 | 9 | 16 | 23 | 30 | 6 | 13 | 20 | 27 |  | 4 | 11 | 18 | 25 |  | 1 | 8 | 15 | 22 | 29 | 6 | 13 | 20 | 27 |  | 3 | 10 | 17 | 24 | 31 | 7 | 14 | 21 | 28 |  | 5 | 12 | 19 | 26 |  | 2 | 9 | 16 | 23 | 30 | 7 | 14 | 19 | 26
|  |  |  | Sunday | 6 | 13 | 20 | 27 |  | 3 | 10 | 17 | 24 |  | 3 | 10 | 17 | 24 | 31 | 7 | 14 | 21 | 28 |  | 5 | 12 | 19 | 26 |  | 2 | 9 | 16 | 23 | 30 | 7 | 14 | 21 | 28 |  | 4 | 11 | 18 | 25 |  | 8 | 15 | 22 | 29 | 1 | 6 | 13 | 20 | 27 |  | 3 | 10 | 17 | 24 |  | 8 | 15 | 20 | 27 | 1
|  |  |  | Week | 1 | 2 | 3 | 4 | 5 |  | 6 | 7 | 8 | 9 |  | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 |  | 18 | 19 | 20 | 21 | 22 |  | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 |  | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 |  | 40 | 41 | 42 | 43 | 44 |  | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53
|  |  |  | Frequency | M= Monthly |  |  |  | Q= Quarterly |  |  |  | HY= Half Yearly |  |  |  |  | Y= Yearly
Sr. No. | Assets Details | Rating/ Capacity | Inhouse/Out source
1 | HT Meter | 2000 KVA/1800 KW | Out Source |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 33; 38
2 | VCB | 800 amp | Out Source |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 33; 38
3 | RMU | 12 KV IR 630 A | Out Source |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 33; 38
4 | Transformer | 2000 KVA | Out Source |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 33; 38
5 | LT Panel TRF 1 ACB | 3200 amp | Out Source |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 33; 38
6 | LT Panel TRF 2 ACB | 3200 amp | Out Source |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 31; 36
7 | LT Panel TRF 3 ACB | 3200 amp | Out Source |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 31; 36
8 | LT Panel DG I/C1 ACB | 1250 amp | Out Source |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 31; 36
9 | LT Panel DG I/C2 ACB | 1600 amp | Out Source |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 31; 36
10 | LT Panel DG I/C3 ACB | 1600 amp | Out Source |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 31; 36
11 | LT Panel DG I/C4 ACB | 1600 amp | Out Source |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 31; 36
12 | DG-1 | 500 KVA | Out Source |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 32; 37
13 | DG-2 | 1010 KVA | Out Source |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 32; 37
14 | DG-3 | 1010 KVA | Out Source |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 32; 37
15 | 500 KVA-1 CT Pump-1 | 2.2 KW | Inhouse |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 32; 37
16 | 500 KVA-1 CT Pump-2 | 2.2 KW | Inhouse |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 32; 37
17 | 1010 KVA-2 CT Pump-1 | 5 kW | Inhouse |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 32; 37
18 | 1010 KVA-2 CT Pump-2 | 5 kW | Inhouse |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 32; 37
19 | 1010 KVA-3 CT Pump-1 | 7.5 kw | Inhouse |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 32; 37
20 | 1010 KVA-3 CT Pump-2 | 7.5 kw | Inhouse |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 32; 37
21 | 500 KVA-1 CT Fan | 2.2 KW | Inhouse |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 32; 37
22 | 1010 KVA-2 CT Fan | 3.7 KW | Inhouse |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 32; 37
23 | 1010 KVA-3 CT Fan | 3.7 KW | Inhouse |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 32; 37
24 | Fire Panel | 800 amp | Inhouse |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 33; 38
25 | Fire Engine | 93.5 KW | Out Source |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 33; 38
26 | Fire Hydrant | 90 KW | Inhouse |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 33; 38
27 | Sprinkler | 90 KW | Inhouse |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 33; 38
28 | Jockey | 6.19 KW | Inhouse |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 33; 38
29 | Plumbing Panel | 400 amp | Inhouse |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 34; 39
30 | Transfer Pump-1 | 10 KW | Inhouse |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 34; 39
31 | Transfer Pump-2 | 10 KW | Inhouse |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 34; 39
32 | Garden Hydrant Pump-1 | 5.2 KW | Inhouse |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 34; 39
33 | Garden Hydrant Pump-2 | 5.2 KW | Inhouse |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 34; 39
34 | Domestic Pump-1 | 50 HP | Inhouse |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 34; 39
35 | Domestic Pump-2 | 50 HP | Inhouse |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 34; 39
36 | Domestic Pump-3 | 50 HP | Inhouse |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 34; 39
37 | Soft Water pump-1 | 3 HP | Inhouse |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 34; 39
38 | Soft Water pump-2 | 3 HP | Inhouse |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 34; 39
39 | DG Cooling tower Pump-1 | 3 HP | Inhouse |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 34; 39
40 | DG Cooling tower Pump-2 | 3 HP | Inhouse |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 34; 39
41 | Sum Pump-1 | 3 hp | Inhouse |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 34; 39
42 | Sum Pump - 2 | 3 hp | Inhouse |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 34; 39
43 | Dosing pump - 1 |  | Inhouse |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 34; 39
44 | Dosing pump - 2 |  | Inhouse |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 34; 39
45 | Sum pump near office | 3 HP | Inhouse |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 34; 39
46 | G tower harvesting engine | 12 HP | Inhouse |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 34; 39
47 | Office harvesting engine | 12 HP | Inhouse |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 34; 39
48 | Club house panel | 400 Amps | Inhouse | [5 empty] | M |  |  |  |  | Q |  |  |  |  | M |  |  |  | M | [5 empty] | HY |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 34; 39
49 | Ext. lighting panel - J tower | 63 Amp | Inhouse | [5 empty] | M |  |  |  |  | Q |  |  |  |  | M |  |  |  | M | [5 empty] | HY |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 34; 39
50 | Ext. lighting panel - E tower | 63 Amp | Inhouse | [5 empty] | M |  |  |  |  | Q |  |  |  |  | M |  |  |  | M | [5 empty] | HY |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 34; 39
51 | Ext. lighting panel - Club EWS | 125 Amp | Inhouse | [5 empty] | M |  |  |  |  | Q |  |  |  |  | M |  |  |  | M | [5 empty] | HY |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 34; 39
52 | Ext. lighting panel (Outside VCB) | 125 Amp | Inhouse | [5 empty] | M |  |  |  |  | Q |  |  |  |  | M |  |  |  | M | [5 empty] | HY |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 34; 39
53 | A-Tower Rising Man | 800 AMP | Inhouse |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 33; 38
54 | B-Tower Rising Man | 800 AMP | Inhouse |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 33; 38
55 | C-Tower Rising Man | 800 AMP | Inhouse |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 33; 38
56 | D-Tower Rising Man | 800 AMP | Inhouse |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 33; 38
57 | E-Tower Rising Man | 800 AMP | Inhouse |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 33; 38
58 | F-Tower Rising Man | 800 AMP | Inhouse |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 33; 38
59 | G-Tower Rising Man | 800 AMP | Inhouse |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 33; 38
60 | H-Tower Rising Man | 800 AMP | Inhouse |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 33; 38
61 | J-Tower Rising Man | 800 AMP | Inhouse |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 33; 38
62 | K-Tower Rising Man | 800 AMP | Inhouse |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 33; 38
63 | L-Tower Rising Man | 800 AMP | Inhouse |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 33; 38
64 | M-Tower Rising Man | 800 AMP | Inhouse |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 33; 38
65 | A Tower Passenger Lift | 8.2 kw | Out Source |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 31; 36
66 | A Tower Service Lift | 13.2 KW | Out Source |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 31; 36
67 | B Tower Passenger Lift | 8.2 kw | Out Source |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 31; 36
68 | B Tower Service Lift | 13.2 KW | Out Source |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 31; 36
69 | C Tower Passenger Lift | 8.2 kw | Out Source |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 32; 37
70 | C Tower Service Lift | 13.2 KW | Out Source |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 32; 37
71 | D Tower Passenger Lift | 8.2 kw | Out Source |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 32; 37
72 | D Tower Service Lift | 13.2 KW | Out Source |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 32; 37
73 | E Tower Passenger Lift | 8.2 kw | Out Source |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 32; 37
74 | E Tower Service Lift | 13.2 KW | Out Source |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 33; 38
75 | F Tower Passenger Lift | 8.2 kw | Out Source |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 33; 38
76 | F Tower Service Lift | 13.2 KW | Out Source |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 33; 38
77 | G Tower Passenger Lift | 8.2 kw | Out Source |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 33; 38
78 | G Tower Service Lift | 13.2 KW | Out Source |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 33; 38
79 | H Tower Passenger Lift | 8.2 kw | Out Source |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 34; 39
80 | H Tower Service Lift | 13.2 KW | Out Source |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 34; 39
81 | J Tower Passenger Lift | 8.2 kw | Out Source |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 34; 39
82 | J Tower Service Lift | 13.2 KW | Out Source |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 34; 39
83 | K Tower Passenger Lift | 8.2 kw | Out Source |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 34; 39
84 | K Tower Service Lift | 13.2 KW | Out Source | [5 empty] | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [9 empty] | M |  |  |  |  | M |  |  |  |  | Y |  |  |  |  | M | bar: 35
85 | L Tower Passenger Lift | 8.2 kw | Out Source | [5 empty] | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [9 empty] | M |  |  |  |  | M |  |  |  |  | Y |  |  |  |  | M | bar: 35
86 | L Tower Service Lift | 13.2 KW | Out Source | [5 empty] | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [9 empty] | M |  |  |  |  | M |  |  |  |  | Y |  |  |  |  | M | bar: 35
87 | M Tower Passenger Lift | 8.2 kw | Out Source | [5 empty] | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [9 empty] | M |  |  |  |  | M |  |  |  |  | Y |  |  |  |  | M | bar: 35
88 | M Tower Service Lift | 13.2 KW | Out Source | [5 empty] | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [9 empty] | M |  |  |  |  | M |  |  |  |  | Y |  |  |  |  | M | bar: 35
89 | A Tower Lift Panel | 100 AMP | Inhouse | [5 empty] | M |  |  |  | Q | [5 empty] | M |  |  | M | [6 empty] | HY |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 33; 38
90 | B Tower Lift Panel | 100 AMP | Inhouse | [5 empty] | M |  |  |  | Q | [5 empty] | M |  |  | M | [6 empty] | HY |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 33; 38
91 | C Tower Lift Panel | 100 AMP | Inhouse | [5 empty] | M |  |  |  | Q | [5 empty] | M |  |  | M | [6 empty] | HY |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 33; 38
92 | D Tower Lift Panel | 100 AMP | Inhouse | [5 empty] | M |  |  |  | Q | [5 empty] | M |  |  | M | [6 empty] | HY |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 33; 38
93 | E Tower Lift Panel | 100 AMP | Inhouse | [5 empty] | M |  |  |  | Q | [5 empty] | M |  |  | M | [6 empty] | HY |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 33; 38
94 | F Tower Lift Panel | 100 AMP | Inhouse | [5 empty] | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [9 empty] | M |  |  |  |  | M |  |  |  |  | Y |  |  |  |  | M | bar: 35
95 | G Tower Lift Panel | 100 AMP | Inhouse | [5 empty] | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [9 empty] | M |  |  |  |  | M |  |  |  |  | Y |  |  |  |  | M | bar: 35
96 | H Tower Lift Panel | 100 AMP | Inhouse | [5 empty] | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [9 empty] | M |  |  |  |  | M |  |  |  |  | Y |  |  |  |  | M | bar: 35
97 | J Tower Lift Panel | 100 AMP | Inhouse | [5 empty] | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [9 empty] | M |  |  |  |  | M |  |  |  |  | Y |  |  |  |  | M | bar: 35
98 | K Tower Lift Panel | 100 AMP | Inhouse | [5 empty] | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [9 empty] | M |  |  |  |  | M |  |  |  |  | Y |  |  |  |  | M | bar: 35
99 | L Tower Lift Panel | 100 AMP | Inhouse | [5 empty] | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [9 empty] | M |  |  |  |  | M |  |  |  |  | Y |  |  |  |  | M | bar: 35
100 | M Tower Lift Panel | 100 AMP | Inhouse | [5 empty] | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [9 empty] | M |  |  |  |  | M |  |  |  |  | Y |  |  |  |  | M | bar: 35
101 | A Tower Lift Pressurising fan |  | Inhouse | [5 empty] | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [9 empty] | M |  |  |  |  | M |  |  |  |  | Y |  |  |  |  | M | bar: 35
102 | B Tower Lift Pressurising fan |  | Inhouse | [5 empty] | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [9 empty] | M |  |  |  |  | M |  |  |  |  | Y |  |  |  |  | M | bar: 35
103 | C Tower Lift Pressurising fan |  | Inhouse | [5 empty] | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [9 empty] | M |  |  |  |  | M |  |  |  |  | Y |  |  |  |  | M | bar: 35
104 | D Tower Lift Pressurising fan |  | Inhouse | [5 empty] | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [9 empty] | M |  |  |  |  | M |  |  |  |  | Y |  |  |  |  | M | bar: 35
105 | E Tower Lift Pressurising fan |  | Inhouse | [5 empty] | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [9 empty] | M |  |  |  |  | M |  |  |  |  | Y |  |  |  |  | M | bar: 35
106 | F Tower Lift Pressurising fan |  | Inhouse | [5 empty] | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [9 empty] | M |  |  |  |  | M |  |  |  |  | Y |  |  |  |  | M | bar: 35
107 | G Tower Lift Pressurising fan |  | Inhouse | [5 empty] | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [9 empty] | M |  |  |  |  | M |  |  |  |  | Y |  |  |  |  | M | bar: 35
108 | H Tower Lift Pressurising fan |  | Inhouse | [5 empty] | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [9 empty] | M |  |  |  |  | M |  |  |  |  | Y |  |  |  |  | M | bar: 35
109 | J Tower Lift Pressurising fan |  | Inhouse | [5 empty] | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [9 empty] | M |  |  |  |  | M |  |  |  |  | Y |  |  |  |  | M | bar: 35
110 | K Tower Lift Pressurising fan |  | Inhouse | [5 empty] | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [9 empty] | M |  |  |  |  | M |  |  |  |  | Y |  |  |  |  | M | bar: 35
111 | L Tower Lift Pressurising fan |  | Inhouse | [5 empty] | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [9 empty] | M |  |  |  |  | M |  |  |  |  | Y |  |  |  |  | M | bar: 35
112 | M Tower Lift Pressurising fan |  | Inhouse | [5 empty] | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [9 empty] | M |  |  |  |  | M |  |  |  |  | Y |  |  |  |  | M | bar: 35
113 | A Tower Bustor Pump-1 | 0.1 hp | Inhouse |  | M | [5 empty] | Q | [7 empty] | M | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 31; 36
114 | A tower Bustor Pump-2 | 0.1 hp | Inhouse |  | M | [5 empty] | Q | [7 empty] | M | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 31; 36
115 | B Tower Bustor Pump-1 | 0.1 hp | Inhouse |  | M | [5 empty] | Q | [7 empty] | M | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 31; 36
116 | B Tower Bustor Pump-2 | 0.1 hp | Inhouse |  | M | [5 empty] | Q | [6 empty] | M |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 31; 36
117 | C Tower Bustor Pump-1 | 0.1 hp | Inhouse |  | M | [5 empty] | Q | [6 empty] | M |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 31; 36
118 | C Tower Bustor Pump-2 | 0.1 hp | Inhouse |  | M | [5 empty] | Q | [6 empty] | M |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 31; 36
119 | D Tower Bustor Pump-1 | 0.1 hp | Inhouse |  | M | [5 empty] | Q |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 31; 36
120 | D Tower Bustor Pump-2 | 0.1 hp | Inhouse |  | M | [6 empty] | Q |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 31; 36
121 | E Tower Bustor Pump-1 | 0.1 hp | Inhouse |  | M | [6 empty] | Q |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 31; 36
122 | E Tower Bustor Pump-2 | 0.1 hp | Inhouse |  | M | [6 empty] | Q |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 31; 36
123 | F Tower Bustor Pump-1 | 0.1 hp | Inhouse |  | M | [6 empty] | Q |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 31; 36
124 | F Tower Bustor Pump-2 | 0.1 hp | Inhouse |  | M | [6 empty] | Q |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 31; 36
125 | G Tower Bustor Pump-1 | 0.1 hp | Inhouse |  | M | [6 empty] | Q |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 31; 36
126 | G Tower Bustor Pump-2 | 0.1 hp | Inhouse |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 31; 36
127 | H Tower Bustor Pump-1 | 0.1 hp | Inhouse |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 31; 36
128 | H Tower Bustor Pump-2 | 0.1 hp | Inhouse |  | M |  |  |  |  | Q | [5 empty] | M |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 31; 36
129 | J Tower Bustor Pump-1 | 0.1 hp | Inhouse |  | M |  |  |  |  | Q | [5 empty] | M |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 31; 36
130 | J Tower Bustor Pump-2 | 0.1 hp | Inhouse |  | M |  |  |  |  | Q | [5 empty] | M |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 31; 36
131 | K Tower Bustor Pump-1 | 0.1 hp | Inhouse |  | M |  |  |  |  | Q | [5 empty] | M |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 31; 36
132 | K Tower Bustor Pump-2 | 0.1 hp | Inhouse |  | M |  |  |  |  | Q | [5 empty] | M |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 31; 36
133 | L Tower Bustor Pump-1 | 0.1 hp | Inhouse |  | M |  |  |  |  | Q | [6 empty] | M |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 31; 36
134 | L Tower Bustor Pump-2 | 0.1 hp | Inhouse |  | M |  |  |  |  | Q | [6 empty] | M |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 31; 36
135 | M Tower Bustor Pump-1 | 0.1 hp | Inhouse |  | M |  |  |  |  | Q | [6 empty] | M |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 31; 36
136 | M Tower Bustor Pump-2 | 0.1 hp | Inhouse |  | M |  |  |  |  | Q | [6 empty] | M |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 31; 36
137 | Water circulation pump-1 | 5 hp | Inhouse |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 32; 37
138 | Water circulation pump-2 | 5 hp | Inhouse |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 32; 37
139 | Tower A lighting DB | 63 Amp | Inhouse |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 33; 38
140 | Tower B lighting DB | 63 Amp | Inhouse |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 33; 38
141 | Tower C lighting DB | 63 Amp | Inhouse |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 33; 38
142 | Tower D lighting DB | 63 Amp | Inhouse |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 33; 38
143 | Tower E lighting DB | 63 Amp | Inhouse |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 33; 38
144 | Tower F lighting DB | 63 Amp | Inhouse |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 33; 38
145 | Tower G lighting DB | 63 Amp | Inhouse |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 33; 38
146 | Tower H lighting DB | 63 Amp | Inhouse |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 33; 38
147 | Tower J lighting DB | 63 Amp | Inhouse |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 32; 37
148 | Tower K lighting DB | 63 Amp | Inhouse |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 32; 37
149 | Tower L lighting DB | 63 Amp | Inhouse |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 32; 37
150 | Tower M lighting DB | 63 Amp | Inhouse |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 32; 37
151 | Fire alarm Panel tower-A | 24 VDC | Out Source |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 32; 37
152 | Fire alarm Panel tower-B | 24 VDC | Out Source |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 32; 37
153 | Fire alarm Panel tower-C | 24 VDC | Out Source |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 32; 37
154 | Fire alarm Panel tower-D | 24 VDC | Out Source |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 32; 37
155 | Fire alarm Panel tower-E | 24 VDC | Out Source |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 32; 37
156 | Fire alarm Panel tower-F | 24 VDC | Out Source |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 32; 37
157 | Fire alarm Panel tower-G | 24 VDC | Out Source |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 32; 37
158 | Fire alarm Panel tower-H | 24 VDC | Out Source |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 32; 37
159 | Fire alarm Panel tower-J | 24 VDC | Out Source |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 32; 37
160 | Fire alarm Panel tower-K | 24 VDC | Out Source |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 32; 37
161 | Fire alarm Panel tower-L | 24 VDC | Out Source |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 32; 37
162 | Fire alarm Panel tower-M | 24 VDC | Out Source |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 32; 37
163 | A tower Ramp Sum Pump-1 | 3 HP | Inhouse |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 34; 39
164 | A tower Ramp Sum Pump-2 | 3 HP | Inhouse |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 34; 39
165 | B tower Sum Pump-1 | 3 HP | Inhouse |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 34; 39
166 | B tower Sum Pump-2 | 3 HP | Inhouse |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 34; 39
167 | G tower Sum Pump-1 | 3 HP | Inhouse |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 34; 39
168 | G tower Sum Pump-2 | 3 HP | Inhouse |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 34; 39
169 | H tower Sum Pump-1 | 3 HP | Inhouse |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 34; 39
170 | H tower Sum Pump-2 | 3 HP | Inhouse |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 34; 39
171 | K tower Sum Pump-1 | 3 HP | Inhouse |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 34; 39
172 | K tower Sum Pump-2 | 3 HP | Inhouse |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 34; 39
173 | M tower Sum Pump-1 | 3 HP | Inhouse |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 34; 39
174 | M tower Sum Pump-2 | 3 HP | Inhouse |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M | [14 empty] | M |  |  |  |  | Y |  |  |  |  | M | bar: 34; 39

## Service Details (hidden)
PPM of June 1st wwek 2022
Sr. No. | Assets Details | Rating/ Capacity | Inhouse/Out source | Frequency | Expire date | Done date | Next Due date | Remarks
1 | LT Panel TRF 2 ACB | 3200 amp | Out Source | Y
2 | LT Panel TRF 3 ACB | 3200 amp | Out Source | Y
3 | LT Panel DG I/C1 ACB | 1250 amp | Out Source | Y
4 | LT Panel DG I/C2 ACB | 1600 amp | Out Source | Y
5 | LT Panel DG I/C3 ACB | 1600 amp | Out Source | Y
6 | LT Panel DG I/C4 ACB | 1600 amp | Out Source | Y
7 | A Tower Bustor Pump-1 | 0.1 hp | Inhouse | M |  | 2022-06-11 | 2022-07-10
8 | A tower Bustor Pump-2 | 0.1 hp | Inhouse | M |  | 2022-06-12 | 2022-07-11
9 | B Tower Bustor Pump-1 | 0.1 hp | Inhouse | M |  | 2022-06-13 | 2022-07-12
10 | B Tower Bustor Pump-2 | 0.1 hp | Inhouse | M |  | 2022-06-14 | 2022-07-13
11 | C Tower Bustor Pump-1 | 0.1 hp | Inhouse | M |  | 2022-06-15 | 2022-07-14
12 | C Tower Bustor Pump-2 | 0.1 hp | Inhouse | M |  | 2022-06-16 | 2022-07-15
13 | D Tower Bustor Pump-1 | 0.1 hp | Inhouse | M |  | 2022-06-17 | 2022-07-16
14 | D Tower Bustor Pump-2 | 0.1 hp | Inhouse | M |  | 2022-06-18 | 2022-07-17
15 | E Tower Bustor Pump-1 | 0.1 hp | Inhouse | M |  | 2022-06-19 | 2022-07-18
16 | E Tower Bustor Pump-2 | 0.1 hp | Inhouse | M |  | 2022-06-20 | 2022-07-19
17 | F Tower Bustor Pump-1 | 0.1 hp | Inhouse | M |  | 2022-06-21 | 2022-07-20
18 | F Tower Bustor Pump-2 | 0.1 hp | Inhouse | M |  | 2022-06-22 | 2022-07-21
19 | G Tower Bustor Pump-1 | 0.1 hp | Inhouse | M |  | 2022-06-23 | 2022-07-22
20 | G Tower Bustor Pump-2 | 0.1 hp | Inhouse | M |  | 2022-06-24 | 2022-07-23
PPM of June 1st week 2022
Sr. No. | Assets Details | Rating/ Capacity | Inhouse/Out source | Frequency | Expire date | Done date | Next Due date | Remarks
21 | H Tower Bustor Pump-1 | 0.1 hp | Inhouse | M |  | 2022-06-11 | 2022-07-10
22 | H Tower Bustor Pump-2 | 0.1 hp | Inhouse | M |  | 2022-06-11 | 2022-07-10
23 | J Tower Bustor Pump-1 | 0.1 hp | Inhouse | M |  | 2022-06-11 | 2022-07-10
24 | J Tower Bustor Pump-2 | 0.1 hp | Inhouse | M |  | 2022-06-11 | 2022-07-10
25 | K Tower Bustor Pump-1 | 0.1 hp | Inhouse | M |  | 2022-06-11 | 2022-07-10
26 | K Tower Bustor Pump-2 | 0.1 hp | Inhouse | M |  | 2022-06-12 | 2022-07-11
27 | L Tower Bustor Pump-1 | 0.1 hp | Inhouse | M |  | 2022-06-13 | 2022-07-12
28 | L Tower Bustor Pump-2 | 0.1 hp | Inhouse | M |  | 2022-06-14 | 2022-07-13
29 | M Tower Bustor Pump-1 | 0.1 hp | Inhouse | M |  | 2002-06-15 | 2022-07-14
30 | M Tower Bustor Pump-2 | 0.1 hp | Inhouse | M |  | 2022-06-16 | 2022-07-15
31 | A Tower Passenger Lift | 8.2 kw | Out Source | M
32 | A Tower Service Lift | 13.2 KW | Out Source | M
33 | B Tower Passenger Lift | 8.2 kw | Out Source | M
34 | B Tower Service Lift | 13.2 KW | Out Source | M
35 | H tower passenger lift | 8.2 kw | Out Source | M
36 | J tower Passenger lift | 8.2 kw | Out Source | M
37 | J tower Service lift | 13.2 KW | Out Source | M
38 | K tower Passenger lift | 8.2 kw | Out Source | M
39 | K tower service lift | 13.2 KW | Out Source | M
40 | A tower Ramp Sum Pump-1 | 3 HP | Inhouse | M
41 | A tower Ramp Sum Pump-2 | 3 HP | Inhouse | M
42 | B tower Sum Pump-1 | 3 HP | Inhouse | M
43 | B tower Sum Pump-2 | 3 HP | Inhouse | M
44 | L tower Sum Pump-1 | 3 HP | Inhouse | M
45 | L tower Sum Pump-2 | 3 HP | Inhouse | M

## PPM-2022
Sr. No. | Assets Details | Rating/ Capacity | Inhouse/Out source
1 | RMU Incomer | 36 KV IR 630 A | Out Source |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
2 | HT Cubicle Meter (NPCL) | 2000 KVA/1800 KW | Out Source |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
3 | RMU Main Out Going | 36 KV IR 630 A | Out Source |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
4 | Transformer | 1600 KVA | Out Source |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
5 | LT Panel TRF 1 ACB | 3500 amp | Inhouse | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
6 | LT Panel TRF 2 ACB | 3500 amp | Inhouse | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
7 | LT Panel DG I/C1 ACB | 1250 amp | Inhouse | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
8 | LT Panel DG I/C2 ACB | 1250 amp | Inhouse | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
9 | L T PANEL |  | Inhouse | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
10 | CAPACITOR PANEL I/C ACB | 1000 amp | Inhouse | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
11 | COMMON SERVICE PANEL I/C MCCB | 250 amp | Inhouse | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
12 | DG-1 | 500 KVA | Out Source |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
13 | DG-2 | 625 KVA | Out Source |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
14 | EARTH PIT H.T & L.T |  | Out Source |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
15 | EARTH PIT DG SETS |  | Out Source |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
16 | Fire Panel | 250 amp | Inhouse |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
17 | Fire Engine | 44.1 KW | Inhouse |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
18 | Fire Hydrant | 65 KW | Inhouse |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
19 | Jockey | 7.5 KW | Inhouse |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
20 | Plumbing Main Panel | 250 amp | Inhouse |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
21 | Automation system panel |  | Inhouse |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
22 | Garden Hydrant Pump-1 | 3.7 KW | Inhouse |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
23 | Garden Hydrant Pump-2 | 3.7 KW | Inhouse |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
24 | Domestic Pump-1 | 11 KW | Inhouse |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
25 | Domestic Pump-2 | 11 KW | Inhouse |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
26 | Domestic Pump-3 | 11 KW | Inhouse |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
27 | Recycel Pump -1 | 7.5 KW | Inhouse |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
28 | Recycel Pump -2 | 7.5 KW | Inhouse |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
29 | Recycel Pump -3 | 7.5 KW | Inhouse |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
30 | Borewell | 7.5 Hp | Inhouse |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
31 | Borewell | 7.5 Hp | Inhouse |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
32 | Electrical Sub Panel | 100 amp | Inhouse |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
33 | Invotor | 2 KVA | Inhouse |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
34 | Ozone Generator |  | Inhouse |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
35 | Air Blower-1 | 3.7 KW | Inhouse |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
36 | Air Blower-2 | 3.7 KW | Inhouse |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
37 | Sludge Pump -1 | 0.746 KW | Inhouse |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
38 | Sludge Pump -2 | 0.746 KW | Inhouse |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
39 | Central Cutter Pump | 2.2 KW | Inhouse |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
40 | Water Transfer Pump-1 | 2.4 KW | Inhouse |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
41 | Water Transfer Pump-2 | 2.4 KW | Inhouse |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
42 | A-Tower Rising Man | 600 amp | Inhouse |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
43 | B-Tower Rising Man | 600 amp | Inhouse |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
44 | C-Tower Rising Man | 800 amp | Inhouse |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
45 | D-Tower Rising Man | 800 amp | Inhouse |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
46 | E-Tower Rising Man | 600 amp | Inhouse |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
47 | F-Tower Rising Man | 600 amp | Inhouse |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
48 | G-Tower Rising Man | 600 amp | Inhouse |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
49 | H-Tower Rising Man | 800 amp | Inhouse |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
50 | I-Tower Rising Man | 600 amp | Inhouse |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
51 | A Tower Passenger Lift | 5.70 KW | Inhouse | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
52 | A Tower Service Lift | 5.70 KW | Inhouse | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
53 | B Tower Passenger Lift | 5.70 KW | Inhouse | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
54 | B Tower Service Lift | 5.70 KW | Inhouse | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
55 | C Tower Passenger Lift | 5.70 KW | Inhouse |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  | HY | HY |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
56 | C Tower Service Lift | 5.70 KW | Inhouse |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
57 | D Tower Passenger Lift | 5.70 KW | Inhouse |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
58 | D Tower Service Lift | 5.70 KW | Inhouse |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
59 | E Tower Passenger Lift | 5.70 KW | Inhouse |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
60 | E Tower Service Lift | 5.70 KW | Inhouse |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
61 | F Tower Passenger Lift | 5.70 KW | Inhouse |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
62 | F Tower Service Lift | 5.70 KW | Inhouse |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
63 | G Tower Passenger Lift | 5.70 KW | Inhouse |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
64 | G Tower Service Lift | 5.70 KW | Inhouse |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
65 | H Tower Passenger Lift | 5.70 KW | Inhouse |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
66 | H Tower Service Lift | 5.70 KW | Inhouse |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
67 | I Tower Passenger Lift | 5.70 KW | Inhouse |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
68 | I Tower Service Lift | 5.70 KW | Inhouse |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
69 | A Tower Lift Panel | 160 amp | Inhouse |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
70 | B Tower Lift Panel | 125 amp | Inhouse |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
71 | C Tower Lift Panel | 125 amp | Inhouse |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
72 | D Tower Lift Panel | 125 amp | Inhouse |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
73 | E Tower Lift Panel | 125 amp | Inhouse |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M | [9 empty] | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
74 | F Tower Lift Panel | 125 amp | Inhouse |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
75 | G Tower Lift Panel | 125 amp | Inhouse |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
76 | H Tower Lift Panel | 125 amp | Inhouse |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
77 | I Tower Lift Panel | 125 amp | Inhouse |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
78 | Electrical Sub Panel | 63 amp | Inhouse |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  | M | [5 empty] | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
79 | Water circulation pump-1 | 3.7 KW | Inhouse |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  | M | [5 empty] | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
80 | Water circulation pump-2 | 3.7 KW | Inhouse |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  | M | [5 empty] | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
81 | Top Mount Sand Filter -1 |  | Inhouse |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  | M | [5 empty] | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
82 | Top Mount Sand Filter -2 |  | Inhouse |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  | M | [5 empty] | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
83 | Top Mount Sand Filter -3 |  | Inhouse |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  | M | [5 empty] | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
84 | Tower A lighting DB | 40 amp | Inhouse |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  | M | [5 empty] | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
85 | Tower B lighting DB | 63 amp | Inhouse |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  | M | [5 empty] | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
86 | Tower C lighting DB | 40 amp | Inhouse |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  | M | [5 empty] | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
87 | Tower D lighting DB | 40 amp | Inhouse |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  | M | [5 empty] | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
88 | Tower E lighting DB | 40 amp | Inhouse |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  | M | [5 empty] | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
89 | Tower F lighting DB | 63 amp | Inhouse |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  | M | [5 empty] | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
90 | Tower G lighting DB | 63 amp | Inhouse |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  | M | [5 empty] | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
91 | Tower H lighting DB | 40 amp | Inhouse |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  | M | [5 empty] | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
92 | Tower I lighting DB | 40 amp | Inhouse |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  | M | [5 empty] | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
93 | Fire alarm Panel tower-A-1 | 24 V DC | Inhouse |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
94 | Fire alarm Panel tower-A-2 | 24 V DC | Inhouse |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
95 | Fire alarm Panel tower-B | 24 V DC | Inhouse |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
96 | Fire alarm Panel tower-C | 24 V DC | Inhouse |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
97 | Fire alarm Panel tower-D | 24 V DC | Inhouse |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
98 | Fire alarm Panel tower-E | 24 V DC | Inhouse |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
99 | Fire alarm Panel tower-F | 24 V DC | Inhouse |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
100 | Fire alarm Panel tower-G | 24 V DC | Inhouse |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
101 | Fire alarm Panel tower-H | 24 V DC | Inhouse |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
102 | Fire alarm Panel tower-I -1 | 24 V DC | Inhouse |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
103 | Fire alarm Panel tower-I -2 | 24 V DC | Inhouse |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
104 | Common service panel tower-A | 200 amp | Inhouse | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
105 | Common service panel tower-B | 200 amp | Inhouse | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
106 | Common service panel tower-C | 160 amp | Inhouse | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
107 | Common service panel tower-D | 160 amp | Inhouse | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
108 | Common service panel tower D To E | 250 amp | Inhouse | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
109 | Common service panel tower-E | 160 amp | Inhouse | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
110 | Common service panel tower-F | 160 amp | Inhouse | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
111 | Common service panel tower-G | 160 amp | Inhouse | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
112 | Common service panel tower-H | 160 amp | Inhouse | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
113 | Common service panel tower-I | 160 amp | Inhouse | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
114 | A tower Sum Pump | 1 HP | Inhouse |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
115 | B tower Sum Pump | 1 HP | Inhouse |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
116 | B-D tower Sum Pump | 1 HP | Inhouse |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
117 | D tower Sum Pump | 1 HP | Inhouse |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
118 | E tower Sum Pump | 1 HP | Inhouse |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
119 | F-G tower Sum Pump | 1 HP | Inhouse |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
120 | H tower Sum Pump | 1 HP | Inhouse |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
121 | I tower Sum Pump | 1 HP | Inhouse |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
122 | Pump Room Sum Pump | 1 HP | Inhouse |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
123 | Garbage Room Sum Pump | 1 HP | Inhouse |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
124 | STP Sum Pump-03 Nos | 1 HP | Inhouse |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
125 | OWC Machine |  | Inhouse |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
126 | R O System Plant |  | Inhouse |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
127 | Computer System (Office) |  | Inhouse |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | HY |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Q |  |  |  |  | M |  |  |  |  | M |  |  |  |  | Y
|  |  |  | 21 | 21 | 30 | 33 | 19 | 21 | 21 | 30 | 33 | 19 | 0 | 0 | 0 | 0 | 0 | 21 | 21 | 30 | 33 | 19 | 21 | 21 | 30 | 33 | 19 | 0 | 0 | 0 | 0 | 0 | 21 | 21 | 30 | 33 | 19 | 21 | 27 | 33 | 24 | 19 | 0 | 0 | 0 | 0 | 0 | 21 | 21 | 30 | 33 | 19 | 21 | 21 | 30 | 33 | 19 | 0 | 0 | 0 | 0 | 0