## Sheet1
Id | Name | Description | QRCode | isdeleted | AssetType | Manufacturer | AssetModel | IsMoveable | AssetImage | AssetValue | LastServiceDate | NextServiceDate | AMCdoc | IsRentable | Password | PropertyId
| HT meter | KO-421, HT Yard, WORKING CONDITION |  | 0 | Machine/Equipment | heptacare power industries pvt. Ltd. | 11KVA(50/5A,11KV/110V) | 0 | NULL | 0 | 2024-09-20 |  | NULL | 0 | NULL | 4
| DG-SET 1 | N20G298214, DG YARD, WORKING CONDITION |  | 0 | Machine/Equipment | STAMFORD | 1500 KVA | 0 | NULL | 0 | 2024-05-10 |  | NULL | 0 | NULL | 4
| DG-SET 2 | N20G298602, DG YARD, WORKING CONDITION |  | 0 | Machine/Equipment | STAMFORD | 750 KVA | 0 | NULL | 0 | 2024-05-10 |  | NULL | 0 | NULL | 4
| Transformer No-1 | 1329, Transformer Yard, WORKING CONDITION |  | 0 | Machine/Equipment | SIEMENS | 1600KVA,11KV/433V,DRY TYPE | 0 | NULL | 0 |  |  | NULL | 0 | NULL | 4
| Transformer No-2 | 0, Transformer Yard, WORKING CONDITION |  | 0 | Machine/Equipment | SIEMENS | 500 KVA | 0 | NULL | 0 |  |  | NULL | 0 | NULL | 4
| ACB Transformer -1(1600 KVA) | CQ663634U, LT ROOM, WORKING CONDITION |  | 0 | Machine/Equipment | L&T | 2500 AMP. | 0 | NULL | 0 | 20-04-2023 |  | NULL | 0 | NULL | 4
| ACB Transformer -2(500 KVA) | CQ663660U, LT ROOM, WORKING CONDITION |  | 0 | Machine/Equipment | L&T | 1250 AMP. | 0 | NULL | 0 | 20-04-2024 |  | NULL | 0 | NULL | 4
| Bus Couppler-1 | CQ663668U, LT ROOM, WORKING CONDITION |  | 0 | Machine/Equipment | L&T | 2500 AMP. | 0 | NULL | 0 | 20-04-2025 |  | NULL | 0 | NULL | 4
| Bus Couppler-2 | CQ663661U, LT ROOM, WORKING CONDITION |  | 0 | Machine/Equipment | L&T | 1250 AMP. | 0 | NULL | 0 | 20-04-2026 |  | NULL | 0 | NULL | 4
| ACB DG-1 (1500 KVA) | CQ663673U, LT ROOM, WORKING CONDITION |  | 0 | Machine/Equipment | L&T | 2500 AMP. | 0 | NULL | 0 | 20-04-2027 |  | NULL | 0 | NULL | 4
| ACB DG-2 (750 KVA) | CQ663657U, LT ROOM, WORKING CONDITION |  | 0 | Machine/Equipment | L&T | 1250 AMP. | 0 | NULL | 0 | 20-04-2028 |  | NULL | 0 | NULL | 4
| TOWER N-1 FEEDER ACB | CQ663634U, LT ROOM, WORKING CONDITION |  | 0 | Machine/Equipment | L&T | 1000 AMP. | 0 | NULL | 0 | 20-04-2029 |  | NULL | 0 | NULL | 4
| TOWER N-2 FEEDER ACB | CQ663635U, LT ROOM, WORKING CONDITION |  | 0 | Machine/Equipment | L&T | 1250 AMP. | 0 | NULL | 0 | 20-04-2030 |  | NULL | 0 | NULL | 4
| TOWER N-3 FEEDER ACB | CQ663639U, LT ROOM, WORKING CONDITION |  | 0 | Machine/Equipment | L&T | 1000 AMP. | 0 | NULL | 0 | 20-04-2031 |  | NULL | 0 | NULL | 4