## Task Bulk Upload Ufirm HO
Task Name | Location | Schedule Based On | Occurance | Start Date | End Date | CategoryName | AssigedTo | Schedule Task Check List Description
PPM Schedule For Transformer | Near By Gate no-07 | calendar | Daily | 2024-11-08 | 2025-11-08 | Technical | Mr. Shiv Kumar Mob No: 7291022399 | Cleaning Check
PPM Schedule For Transformer | Near By Gate no-08 | calendar | Daily |  |  | Technical |  | Oil Leval check
PPM Schedule For Transformer | Near By Gate no-09 | calendar | Daily |  |  | Technical |  | Silica Gel Color Check
PPM Schedule For Transformer | Near By Gate no-10 | calendar | Daily |  |  | Technical |  | OT Relay Check
PPM Schedule For Lift | All Tower Lift | calendar | Daily |  |  | Technical |  | Light Check
PPM Schedule For Lift | All Tower Lift | calendar | Daily |  |  | Technical |  | Alram Check
PPM Schedule For Lift | All Tower Lift | calendar | Daily |  |  | Technical |  | Intercome Check
PPM Schedule For Lift | All Tower Lift | calendar | Daily |  |  | Technical |  | Emergency Contact Number Check
PPM Schedule For Lift | All Tower Lift | calendar | Daily |  |  | Technical |  | COP Button Check
PPM Schedule For Lift | All Tower Lift | calendar | Daily |  |  | Technical |  | Fan Check
PPM Schedule For Ground Floor | Gound Floor | calendar | Daily |  |  | Housekeeping | Mr. Shiv Kumar Mob No: 7291022399 | Sweeping
PPM Schedule For Ground Floor | Gound Floor | calendar | Daily |  |  | Housekeeping |  | Dusting
PPM Schedule For Ground Floor | Gound Floor | calendar | Daily |  |  | Housekeeping |  | Glass Cleaning
PPM Schedule For Ground Floor | Gound Floor | calendar | Daily |  |  | Housekeeping |  | Dustbin Cleaning
PPM Schedule For Ground Floor | Gound Floor | calendar | Daily |  |  | Housekeeping |  | Chair Cleaning
PPM Schedule For Ground Floor | Gound Floor | calendar | Daily |  |  | Housekeeping |  | Boom Barrier Cleaning
PPM Schedule For Reception | Reception | calendar | Daily |  |  | Housekeeping |  | Sweeping
PPM Schedule For Reception | Reception | calendar | Daily |  |  | Housekeeping |  | Dusting
PPM Schedule For Reception | Reception | calendar | Daily |  |  | Housekeeping |  | Glass Cleaning
PPM Schedule For Reception | Reception | calendar | Daily |  |  | Housekeeping |  | Dustbin Cleaning
PPM Schedule For Reception | Reception | calendar | Daily |  |  | Housekeeping |  | Chair Cleaning
PPM Schedule For Reception | Reception | calendar | Daily |  |  | Housekeeping |  | Boom Barrier Cleaning
PPM Schedule For Washroom Man | Washroom (Man) | calendar | Daily |  |  | Housekeeping |  | Washroom WC Cleaning check
PPM Schedule For Washroom Man | Washroom (Man) | calendar | Daily |  |  | Housekeeping |  | Washroom gate working condition check
PPM Schedule For Washroom Man | Washroom (Man) | calendar | Daily |  |  | Housekeeping |  | Washroom tap leackage check
PPM Schedule For Washroom Man | Washroom (Man) | calendar | Daily |  |  | Housekeeping |  | Washroom cleaning check
PPM Schedule For Washroom Man | Washroom (Man) | calendar | Daily |  |  | Housekeeping |  | Test switch working condition check
PPM Schedule For Washroom Woman | Washroom (Woman) | calendar | Daily |  |  | Housekeeping |  | Washroom WC Cleaning check
PPM Schedule For Washroom Woman | Washroom (Woman) | calendar | Daily |  |  | Housekeeping |  | Washroom gate working condition check
PPM Schedule For Washroom Woman | Washroom (Woman) | calendar | Daily |  |  | Housekeeping |  | Washroom tap leackage check
PPM Schedule For Washroom Woman | Washroom (Woman) | calendar | Daily |  |  | Housekeeping |  | Washroom cleaning check
PPM Schedule For Washroom Woman | Washroom (Woman) | calendar | Daily |  |  | Housekeeping |  | Test switch working condition check
PPM Schedule For Basement | Basement | calendar | Daily |  |  | Housekeeping | Mr.Abhishek Kumar Mob No:7704053598 | Sweeping
PPM Schedule For Basement | Basement | calendar | Daily |  |  | Housekeeping |  | Dusting
PPM Schedule For Basement | Basement | calendar | Daily |  |  | Housekeeping |  | Glass Cleaning
PPM Schedule For Basement | Basement | calendar | Daily |  |  | Housekeeping |  | Dustbin Cleaning
PPM Schedule For Basement | Basement | calendar | Daily |  |  | Housekeeping |  | Floor Cleaning
PPM Schedule For Basement | Basement | calendar | Daily |  |  | Housekeeping |  | Sofa Cleaning
PPM Schedule For Basement | Basement | calendar | Daily |  |  | Housekeeping |  | Common Washroom Cleaning
PPM Schedule For Basement | Basement | calendar | Daily |  |  | Housekeeping |  | Glass Cleaning
PPM Schedule For Washroom man | Washroom Man | calendar | Daily |  |  | Housekeeping |  | Test switch working condition check
PPM Schedule For Washroom man | Washroom Man | calendar | Daily |  |  | Housekeeping |  | Washroom cleaning check
PPM Schedule For Washroom man | Washroom Man | calendar | Daily |  |  | Housekeeping |  | Washroom tap leackage check
PPM Schedule For Washroom man | Washroom Man | calendar | Daily |  |  | Housekeeping |  | Washroom WC Cleaning check
PPM Schedule For Washroom Woman | Washroom Woman | calendar | Daily |  |  | Housekeeping |  | Test switch working condition check
PPM Schedule For Washroom Woman | Washroom Woman | calendar | Daily |  |  | Housekeeping |  | Washroom WC Cleaning check
PPM Schedule For Washroom Woman | Washroom Woman | calendar | Daily |  |  | Housekeeping |  | Washroom cleaning check
PPM Schedule For Washroom Woman | Washroom Woman | calendar | Daily |  |  | Housekeeping |  | Washroom tap leackage check
PPM Schedule For Four Floor | Four Floor | calendar | Daily |  |  | Housekeeping | Mr. Deepak Mob No:7303053101 | Sweeping
PPM Schedule For Four Floor | Four Floor | calendar | Daily |  |  | Housekeeping |  | Dusting
PPM Schedule For Four Floor | Four Floor | calendar | Daily |  |  | Housekeeping |  | Glass Cleaning
PPM Schedule For Four Floor | Four Floor | calendar | Daily |  |  | Housekeeping |  | Dustbin Cleaning
PPM Schedule For Four Floor | Four Floor | calendar | Daily |  |  | Housekeeping |  | Floor Cleaning
PPM Schedule For Four Floor | Four Floor | calendar | Daily |  |  | Housekeeping |  | Notic Board Cleaning
PPM Schedule For Four Floor | Four Floor | calendar | Daily |  |  | Housekeeping |  | Sofa Cleaning
PPM Schedule For Washroom man | Washroom man | calendar | Daily |  |  | Housekeeping |  | Test switch working condition check
PPM Schedule For Washroom man | Washroom man | calendar | Daily |  |  | Housekeeping |  | Washroom WC Cleaning check
PPM Schedule For Washroom man | Washroom man | calendar | Daily |  |  | Housekeeping |  | Washroom cleaning check
PPM Schedule For Washroom man | Washroom man | calendar | Daily |  |  | Housekeeping |  | Washroom tap leackage check
PPM Schedule For Washroom Woman | Washroom Woman | calendar | Daily |  |  | Housekeeping |  | Test switch working condition check
PPM Schedule For Washroom Woman | Washroom Woman | calendar | Daily |  |  | Housekeeping |  | Washroom WC Cleaning check
PPM Schedule For Washroom Woman | Washroom Woman | calendar | Daily |  |  | Housekeeping |  | Washroom cleaning check
PPM Schedule For Washroom Woman | Washroom Woman | calendar | Daily |  |  | Housekeeping |  | Washroom tap leackage check
PPM Schedule For First Floor | First Floor | calendar | Daily |  |  | Housekeeping | Mr.Shahil Mob No:9318379394 | Sweeping
PPM Schedule For First Floor | First Floor | calendar | Daily |  |  | Housekeeping |  | Dusting
PPM Schedule For First Floor | First Floor | calendar | Daily |  |  | Housekeeping |  | Ground Floor
PPM Schedule For First Floor | First Floor | calendar | Daily |  |  | Housekeeping |  | Dustbin Cleaning
PPM Schedule For First Floor | First Floor | calendar | Daily |  |  | Housekeeping |  | Floor Cleaning
PPM Schedule For First Floor | First Floor | calendar | Daily |  |  | Housekeeping |  | Notic Board Cleaning
PPM Schedule For First Floor | First Floor | calendar | Daily |  |  | Housekeeping |  | Sofa Cleaning
PPM Schedule For First Floor | First Floor | calendar | Daily |  |  | Housekeeping |  | Glass Cleaning
PPM Schedule For First Floor | First Floor | calendar | Daily |  |  | Housekeeping |  | Dustbin Cleaning
PPM Schedule For Ground Floor | Ground Floor | calendar | Daily |  |  | Housekeeping | Mr. Saurabh Dagar Mob No:9555614362 | Sofa Cleaning
PPM Schedule For Ground Floor | Ground Floor | calendar | Daily |  |  | Housekeeping |  | Glass Cleaning
PPM Schedule For Ground Floor | Ground Floor | calendar | Daily |  |  | Housekeeping |  | Chear Cleaning
PPM Schedule For Ground Floor | Ground Floor | calendar | Daily |  |  | Housekeeping |  | Dusting
PPM Schedule For Ground Floor | Ground Floor | calendar | Daily |  |  | Housekeeping |  | Teble Cleaning